This form may be used when using a crane lift platform and may accompany any work permit form.

| No | Item | √ | X |
| --- | --- | --- | --- |
|  | Is the crane fully operational, complete with correct inspection certificates? | ☐ | ☐ |
|  | Will the crane operator be at the controls at all times when the platform is in use? | ☐ | ☐ |
|  | Will the crane be inspected before daily use? | ☐ | ☐ |
|  | Does the crane have an anti-two block device? | ☐ | ☐ |
|  | Does the crane have a power load lowering capability? (Any freefall capability must be locked out to avoid a freefall situation) | ☐ | ☐ |
|  | Are all hook latches functioning properly? | ☐ | ☐ |
|  | Will the crane only lift only the platform at one time? | ☐ | ☐ |
|  | Does the platform have a registered engineer’s certificate? | ☐ | ☐ |
|  | Does the platform have a guard rail, mid rail and kickboard? | ☐ | ☐ |
|  | Are all shackles “moused” and hooks have a safety latch? | ☐ | ☐ |
|  | Will the gate be locked while the platform is in use? | ☐ | ☐ |
|  | Is the platform floor slip resistant and free draining? | ☐ | ☐ |
|  | Does the platform have a SWL displayed in a prominent place? | ☐ | ☐ |
|  | Will the occupants of the platform be wearing harnesses and lanyards? (The lanyards should be as short as practical. If moving outside the barriers of the platform a shock absorber must be used). | ☐ | ☐ |
|  | Will the harness be attached to the crane hook block? If using an overhead cage lanyards should be attached to the roof of the cage and the cage separately attached to the crane hook block. | ☐ | ☐ |
|  | Is there an agreed system of communication between the platform occupant and the crane driver? | ☐ | ☐ |
|  | Has a lift plan been completed for the task? Attach to the work permit. | ☐ | ☐ |

Actions arising from the check:

Checked by: …………………………………………… Signed: ………………………………………………………	 Date: …………………………………...