This form may be used when using or working from a ladder and may accompany any Work at Heights Work Permit.

| NO | Item | √ | X |
| --- | --- | --- | --- |
|  | Is a ladder the best method to access the work area required? | ☐ | ☐ |
|  | Is the ladder to be used an aluminium Industrial Grade Ladder tested to AS/NZS 1892 and certified as being able to hold at least 120kg? | ☐ | ☐ |
|  | Are there any overhead hazards? A minimum of 4 metres from overhead lines is required – refer to https://worksafe.govt.nz/laws-and-regulations/standards/electricity-standards-and-codes-of-practice/ | ☐ | ☐ |
|  | Is there safe access to the intended work area? (Note: Check for hazards in the immediate area?) | ☐ | ☐ |
|  | Is there an emergency plan in place in case of a fall? (Refer to Page 49 of BEST PRACTICE GUIDELINES FOR WORKING AT HEIGHT IN NEW ZEALAND) | ☐ | ☐ |
|  | Is it the right type of ladder for the job? (right height, type, etc) | ☐ | ☐ |
|  | Is the ladder to be used in good condition with rubber feet? All rungs in good condition? All safety catches/locking bars in working order? Has a AS/NZS 1892 standard mark on it and rated to at least 120kg? | ☐ | ☐ |
|  | If being used as an access way, does the ladder overhang at least one metre beyond the step off point? | ☐ | ☐ |
|  | Is the ladder secured against movement at the top and bottom? (Note: you must have to have someone hold the ladder at the bottom initially to set this up) | ☐ | ☐ |
|  | Is the ladder to be footed on level ground? | ☐ | ☐ |
|  | Is the angle of the ladder set up to a ratio of; 4 up and 1 out? | ☐ | ☐ |
|  | Is the ladder in a vehicle or pedestrian access way? (Put up temporary barriers – cones/tape/signage etc) | ☐ | ☐ |
|  | Workers advised: To not go beyond the third rung from the top of the ladder Not to leave tools on the ladder Not to overreach, their waist must always remain within the confines of the rungs Not to carry loads that will prevent three points of contact at all times Only to have one person working on the ladder at a time | ☐ | ☐ |
|  | If using a step ladder, is it less than 6.1 metres (the maximum height permissible) | ☐ | ☐ |
|  | If using a step ladder have all catches and safety latches been secured? | ☐ | ☐ |
|  | If using the ladder as a short term working platform (i.e. changing a light bulb, etc) have all reasonably practicable requirements been met? (i.e. Meeting industry standard with additional bracing, ladder tied off, ladder stability devices used, etc) | ☐ | ☐ |
|  | Workers advised to always maintain 3 points of contact at all times. | ☐ | ☐ |

Actions arising from the check:

Checked by: ……………………………………………………. Signed: ………………………………………………………………	 Date: ……………………………………….